## Export Summary
This document was exported from Numbers. Each table was converted to an Excel worksheet. All other objects on each Numbers sheet were placed on separate worksheets. Please be aware that formula calculations may differ in Excel.
Numbers Sheet Name | Numbers Table Name | Excel Worksheet Name
Protocol
| Table 1 | Protocol
Measurements
| Table 1 | Measurements
Analysis
| Table 1 | Analysis
Coverage
| Table 1 | Coverage
Model
| Table 1 | Model

## Protocol
ADAU1787 EVAL — calibração comum dos detectores B1–B8
Objetivo | Identificar uma vez os detectores RMS de B1–B8 e reutilizar a calibração para N1–N10.
Estado inicial | Execute Link Compile Download. Todas as LUTs B1–B8 e os três biases devem estar em unity.
Frequência | Use a frequência indicada para cada banda e anote somente essa componente espectral no REW.
Níveis | Use somente −59,85; −39,85; −19,85 e −9,85 dBV, equivalentes a 45, 65, 85 e 95 dB SPL.
Unity | Meça os quatro níveis antes de carregar a LUT de identificação da banda.
Identificação | Carregue B<n>_detector_identification.sss uma vez e repita os quatro níveis.
Estabilização | Aguarde pelo menos 2 s após mudar frequência ou nível antes de registrar a componente espectral.
Restauração | Use detector_identification_restore_all_unity.sss ou Link Compile Download entre bandas.
Registro | Preencha somente as células amarelas da aba Measurements; as demais abas são calculadas.
Importante | Não use sweep. Esta campanha pertence ao EVAL e será feita apenas uma vez, não uma vez por prescrição.
Script/arquivo | Caminho relativo a tiresias-eval-sigma
Banda atual | scripts/generated/detector-identification/B<n>_detector_identification.sss
Exemplo B1 | scripts/generated/detector-identification/B1_detector_identification.sss
Restaurar unity | scripts/generated/detector-identification/detector_identification_restore_all_unity.sss
Resultado comum | config/detector_calibration_eval.json

## Measurements
Calibração comum B1–B8 — preencher somente F, G e H
test_id | band | frequency_hz | equivalent_level_db_spl | rew_dac_output_dbv | unity_component_dbv | identification_component_dbv | notes
B1_45 | 1 | 177 | 45 | -59.85 | -60.23 | -60.2
B1_65 | 1 | 177 | 65 | -39.85 | -40.24 | -41.12
B1_85 | 1 | 177 | 85 | -19.85 | -20.24 | -24.06
B1_95 | 1 | 177 | 95 | -9.85 | -10.24 | -15.45
B2_45 | 2 | 297 | 45 | -59.85 | -60.24 | -57.24
B2_65 | 2 | 297 | 65 | -39.85 | -40.25 | -40.3
B2_85 | 2 | 297 | 85 | -19.85 | -20.25 | -22.63
B2_95 | 2 | 297 | 95 | -9.85 | -10.25 | -13.56
B3_45 | 3 | 500 | 45 | -59.85 | -60.25 | -57.3
B3_65 | 3 | 500 | 65 | -39.85 | -40.25 | -40.24
B3_85 | 3 | 500 | 85 | -19.85 | -20.25 | -22.49
B3_95 | 3 | 500 | 95 | -9.85 | -10.25 | -13.36
B4_45 | 4 | 841 | 45 | -59.85 | -60.25 | -57.31
B4_65 | 4 | 841 | 65 | -39.85 | -40.25 | -40.23
B4_85 | 4 | 841 | 85 | -19.85 | -20.25 | -22.47
B4_95 | 4 | 841 | 95 | -9.85 | -10.25 | -13.34
B5_45 | 5 | 1414 | 45 | -59.85 | -60.25 | -57.31
B5_65 | 5 | 1414 | 65 | -39.85 | -40.25 | -40.23
B5_85 | 5 | 1414 | 85 | -19.85 | -20.25 | -22.48
B5_95 | 5 | 1414 | 95 | -9.85 | -10.25 | -13.34
B6_45 | 6 | 2378 | 45 | -59.85 | -60.25 | -57.31
B6_65 | 6 | 2378 | 65 | -39.85 | -40.26 | -40.24
B6_85 | 6 | 2378 | 85 | -19.85 | -20.25 | -22.5
B6_95 | 6 | 2378 | 95 | -9.85 | -10.25 | -13.38
B7_45 | 7 | 4000 | 45 | -59.85 | -60.26 | -57.27
B7_65 | 7 | 4000 | 65 | -39.85 | -40.26 | -40.26
B7_85 | 7 | 4000 | 85 | -19.85 | -20.26 | -22.57
B7_95 | 7 | 4000 | 95 | -9.85 | -10.26 | -13.47
B8_45 | 8 | 6727 | 45 | -59.85 | -60.27 | -57.22
B8_65 | 8 | 6727 | 65 | -39.85 | -40.27 | -40.37
B8_85 | 8 | 6727 | 85 | -19.85 | -20.27 | -22.79
B8_95 | 8 | 6727 | 95 | -9.85 | -10.27 | -13.77

## Analysis
Análise automática da identificação comum
test_id | band | frequency_hz | level_db_spl | dac_dbv | unity_dbv | ident_dbv | insertion_db | output_ratio | a | b | remainder_sq | unity_sq | quadratic_c | discriminant | compressor_linear_gain | identification_gain_db | detector_dbfs
B1_45 | 1 | 177 | 45 | -59.85 | -60.23 | -60.2 | 0.03 | 1.0035 | 0.54469 | 0.38673 | 0.06865 | 1.0001 | -0.93835 | 2.194 | 1.0047 | 0.040625 | -40.1625
B1_65 | 1 | 177 | 65 | -39.85 | -40.24 | -41.12 | -0.88 | 0.90365 | 0.54469 | 0.38673 | 0.06865 | 1.0001 | -0.74799 | 1.7792 | 0.86944 | -1.2152 | -35.1393
B1_85 | 1 | 177 | 85 | -19.85 | -20.24 | -24.06 | -3.82 | 0.64417 | 0.54469 | 0.38673 | 0.06865 | 1.0001 | -0.34633 | 0.90413 | 0.51785 | -5.716 | -17.1361
B1_95 | 1 | 177 | 95 | -9.85 | -10.24 | -15.45 | -5.21 | 0.54891 | 0.54469 | 0.38673 | 0.06865 | 1.0001 | -0.23267 | 0.65649 | 0.38877 | -8.2062 | -7.1752
B2_45 | 2 | 297 | 45 | -59.85 | -60.24 | -57.24 | 3 | 1.4125 | 0.29768 | 0.4959 | 0.20653 | 1.0001 | -1.789 | 2.376 | 1.7562 | 4.8913 | -59.5652
B2_65 | 2 | 297 | 65 | -39.85 | -40.25 | -40.3 | -0.05 | 0.99426 | 0.29768 | 0.4959 | 0.20653 | 1.0001 | -0.78213 | 1.1772 | 0.98948 | -0.091868 | -39.6325
B2_85 | 2 | 297 | 85 | -19.85 | -20.25 | -22.63 | -2.38 | 0.76033 | 0.29768 | 0.4959 | 0.20653 | 1.0001 | -0.37163 | 0.68842 | 0.56069 | -5.0255 | -19.8978
B2_95 | 2 | 297 | 95 | -9.85 | -10.25 | -13.56 | -3.31 | 0.68312 | 0.29768 | 0.4959 | 0.20653 | 1.0001 | -0.26018 | 0.55572 | 0.41918 | -7.5519 | -9.7923
B3_45 | 3 | 500 | 45 | -59.85 | -60.25 | -57.3 | 2.95 | 1.4044 | 0.27378 | 0.49895 | 0.22733 | 1 | -1.7452 | 2.1601 | 1.773 | 4.974 | -59.8959
B3_65 | 3 | 500 | 65 | -39.85 | -40.25 | -40.24 | 0.01 | 1.0012 | 0.27378 | 0.49895 | 0.22733 | 1 | -0.77503 | 1.0977 | 1.0022 | 0.019102 | -40.0764
B3_85 | 3 | 500 | 85 | -19.85 | -20.25 | -22.49 | -2.24 | 0.77268 | 0.27378 | 0.49895 | 0.22733 | 1 | -0.36974 | 0.65385 | 0.56554 | -4.9507 | -20.1971
B3_95 | 3 | 500 | 95 | -9.85 | -10.25 | -13.36 | -3.11 | 0.69904 | 0.27378 | 0.49895 | 0.22733 | 1 | -0.26135 | 0.53515 | 0.42479 | -7.4365 | -10.2539
B4_45 | 4 | 841 | 45 | -59.85 | -60.25 | -57.31 | 2.94 | 1.4028 | 0.27092 | 0.49916 | 0.22992 | 0.99999 | -1.738 | 2.1325 | 1.7739 | 4.9786 | -59.9143
B4_65 | 4 | 841 | 65 | -39.85 | -40.25 | -40.23 | 0.02 | 1.0023 | 0.27092 | 0.49916 | 0.22992 | 0.99999 | -0.77469 | 1.0887 | 1.0044 | 0.038384 | -40.1535
B4_85 | 4 | 841 | 85 | -19.85 | -20.25 | -22.47 | -2.22 | 0.77446 | 0.27092 | 0.49916 | 0.22992 | 0.99999 | -0.36987 | 0.64998 | 0.56669 | -4.9331 | -20.2676
B4_95 | 4 | 841 | 95 | -9.85 | -10.25 | -13.34 | -3.09 | 0.70065 | 0.27092 | 0.49916 | 0.22992 | 0.99999 | -0.26099 | 0.53198 | 0.42488 | -7.4347 | -10.2611
B5_45 | 5 | 1414 | 45 | -59.85 | -60.25 | -57.31 | 2.94 | 1.4028 | 0.27176 | 0.49908 | 0.22914 | 0.99998 | -1.7387 | 2.1391 | 1.7727 | 4.9727 | -59.8907
B5_65 | 5 | 1414 | 65 | -39.85 | -40.25 | -40.23 | 0.02 | 1.0023 | 0.27176 | 0.49908 | 0.22914 | 0.99998 | -0.77546 | 1.092 | 1.0044 | 0.038324 | -40.1533
B5_85 | 5 | 1414 | 85 | -19.85 | -20.25 | -22.48 | -2.23 | 0.77357 | 0.27176 | 0.49908 | 0.22914 | 0.99998 | -0.36926 | 0.65048 | 0.56565 | -4.949 | -20.2041
B5_95 | 5 | 1414 | 95 | -9.85 | -10.25 | -13.34 | -3.09 | 0.70065 | 0.27176 | 0.49908 | 0.22914 | 0.99998 | -0.26176 | 0.53363 | 0.42577 | -7.4165 | -10.3341
B6_45 | 6 | 2378 | 45 | -59.85 | -60.25 | -57.31 | 2.94 | 1.4028 | 0.27558 | 0.49874 | 0.22565 | 0.99997 | -1.7422 | 2.1691 | 1.7673 | 4.9463 | -59.7852
B6_65 | 6 | 2378 | 65 | -39.85 | -40.26 | -40.24 | 0.02 | 1.0023 | 0.27558 | 0.49874 | 0.22565 | 0.99997 | -0.77893 | 1.1074 | 1.0044 | 0.038058 | -40.1522
B6_85 | 6 | 2378 | 85 | -19.85 | -20.25 | -22.5 | -2.25 | 0.77179 | 0.27558 | 0.49874 | 0.22565 | 0.99997 | -0.36999 | 0.65658 | 0.56529 | -4.9546 | -20.1815
B6_95 | 6 | 2378 | 95 | -9.85 | -10.25 | -13.38 | -3.13 | 0.69743 | 0.27558 | 0.49874 | 0.22565 | 0.99997 | -0.26074 | 0.53615 | 0.42363 | -7.4602 | -10.1592
B7_45 | 7 | 4000 | 45 | -59.85 | -60.26 | -57.27 | 2.99 | 1.4109 | 0.2865 | 0.4975 | 0.21597 | 0.99997 | -1.7746 | 2.2813 | 1.7677 | 4.9481 | -59.7922
B7_65 | 7 | 4000 | 65 | -39.85 | -40.26 | -40.26 | 0 | 1 | 0.2865 | 0.4975 | 0.21597 | 0.99997 | -0.784 | 1.146 | 1 | 0 | -40
B7_85 | 7 | 4000 | 85 | -19.85 | -20.26 | -22.57 | -2.31 | 0.76648 | 0.2865 | 0.4975 | 0.21597 | 0.99997 | -0.3715 | 0.67325 | 0.56373 | -4.9786 | -20.0857
B7_95 | 7 | 4000 | 95 | -9.85 | -10.26 | -13.47 | -3.21 | 0.69103 | 0.2865 | 0.4975 | 0.21597 | 0.99997 | -0.26155 | 0.54724 | 0.42278 | -7.4776 | -10.0895
B8_45 | 8 | 6727 | 45 | -59.85 | -60.27 | -57.22 | 3.05 | 1.4207 | 0.3208 | 0.49118 | 0.18802 | 0.99999 | -1.8303 | 2.5899 | 1.7428 | 4.8247 | -59.299
B8_65 | 8 | 6727 | 65 | -39.85 | -40.27 | -40.37 | -0.1 | 0.98855 | 0.3208 | 0.49118 | 0.18802 | 0.99999 | -0.78921 | 1.254 | 0.97979 | -0.17734 | -39.2906
B8_85 | 8 | 6727 | 85 | -19.85 | -20.27 | -22.79 | -2.52 | 0.74817 | 0.3208 | 0.49118 | 0.18802 | 0.99999 | -0.37174 | 0.71826 | 0.55538 | -5.1082 | -19.567
B8_95 | 8 | 6727 | 95 | -9.85 | -10.27 | -13.77 | -3.5 | 0.66834 | 0.3208 | 0.49118 | 0.18802 | 0.99999 | -0.25866 | 0.57317 | 0.41444 | -7.6508 | -9.3969

## Coverage
Cobertura da campanha comum N1–N10
band | test_frequency_hz | levels_db_spl | rew_dac_levels_dbv | script | scope
1 | 177 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B1_detector_identification.sss | one EVAL calibration reused by N1-N10
2 | 297 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B2_detector_identification.sss | one EVAL calibration reused by N1-N10
3 | 500 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B3_detector_identification.sss | one EVAL calibration reused by N1-N10
4 | 841 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B4_detector_identification.sss | one EVAL calibration reused by N1-N10
5 | 1414 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B5_detector_identification.sss | one EVAL calibration reused by N1-N10
6 | 2378 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B6_detector_identification.sss | one EVAL calibration reused by N1-N10
7 | 4000 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B7_detector_identification.sss | one EVAL calibration reused by N1-N10
8 | 6727 | 45, 65, 85, 95 | -59.85, -39.85, -19.85, -9.85 | B8_detector_identification.sss | one EVAL calibration reused by N1-N10

## Model
Modelo linear extraído do export SigmaStudio
band | frequency_hz | target_real | target_imag | remainder_real | remainder_imag | target_squared_a | cross_term_b | remainder_squared | unity_squared | target_magnitude | remainder_magnitude | phase_difference_deg
1 | 177 | 0.60171 | 0.42736 | 0.21205 | 0.15389 | 0.54469 | 0.38673 | 0.06865 | 1.0001 | 0.73803 | 0.26201 | -0.58533
2 | 297 | -0.54557 | 0.0058669 | -0.45443 | 0.0046471 | 0.29768 | 0.4959 | 0.20653 | 1.0001 | 0.5456 | 0.45446 | -0.030218
3 | 500 | -0.053612 | -0.52048 | -0.048602 | -0.4743 | 0.27378 | 0.49895 | 0.22733 | 1 | 0.52324 | 0.47679 | -0.030274
4 | 841 | 0.39857 | -0.33476 | 0.36735 | -0.30817 | 0.27092 | 0.49916 | 0.22992 | 0.99999 | 0.5205 | 0.4795 | -0.034457
5 | 1414 | 0.51996 | 0.037471 | 0.47743 | 0.034691 | 0.27176 | 0.49908 | 0.22914 | 0.99998 | 0.52131 | 0.47868 | -0.034027
6 | 2378 | 0.35187 | 0.38957 | 0.31822 | 0.35268 | 0.27558 | 0.49874 | 0.22565 | 0.99997 | 0.52495 | 0.47503 | -0.029226
7 | 4000 | -0.10268 | 0.52532 | -0.089235 | 0.45608 | 0.2865 | 0.4975 | 0.21597 | 0.99997 | 0.53526 | 0.46473 | -0.010405
8 | 6727 | -0.5622 | 0.06877 | -0.43019 | 0.054324 | 0.3208 | 0.49118 | 0.18802 | 0.99999 | 0.56639 | 0.43361 | 0.2232